Warehouse

| 821 S. Matlack Street |
| --- |
| Built: 1950 | Size: 47,029 sf |
| Acquired: 1986 | Condition: Fair |
| Last Renovation: 2002 | Function: E&G |

The warehouse is located on the east side of campus on South Matlack Street, next to 201 Carter Drive and across from the "M" Parking Lot. It houses Central Receiving and Stores, Custodial Services offices, Maintenance Garage and Motor Pool, the Graphics and Printing shops and offices, Grounds Department Offices, Moving Services, Recycling Services, an Upholstery Shop, Archive storage for files and University Surplus Furniture.

Present Use: Warehousing, Central Stores and Receiving, Grounds Department office space, upholstery shop, Custodial Services offices, Maintenance Garage and Motorpool, and the Graphics & Printing Shop.

Disability Access: Ground floor only.

Past Projects: 1991- Graphics and Printing shop, 2002 Roof, 2007 Custodial and Maintenance Garage fit out.

Scheduled Projects or Capital Renovations: None

Description of Construction: Metal, pre-fabricated structure, membrane roofing, concrete floor.

| Condition and Use Assessment: |
| --- |
| Deferred Maintenance (2007): $ 560,000 | Est Replacement Cost (2007): $ 7,531,000 |
| Facility Condition Index: 0.074 | Deficiency/SF: $ 12.20 |
| Yearly Electric Use Cost: $ | Yearly Water Use Cost $ |