Hollinger Fieldhouse

| 150 University Avenue |
| --- |
| Built: 1953 | Size: 57,049 sf |
| Acquired: N/A | Condition: Fair |
| Last Renovation: 1984 | Function: E&G |

Hollinger Fieldhouse is an addition to Ehinger Gymnasium . It joins to the back of Ehinger Gym and runs along University Avenue. The eastern end of the building houses the pool; the western end houses the indoor track and gymnasium. Hollinger Fieldhouse is the University’s major basketball facility. It is also the primary North Campus indoor recreation facility for the University. It is heavily used day and night.

Present Use: Fieldhouse, pool, and offices

Disability Access: Full from each entry door at different grades- no elevator. Accessible restrooms and locker rooms.

Past Projects: 1984 Renovation, 1992 Sports Memorabilia Room, 2001 Roof repair, handicapped accessibility, and bleacher upgrade.

Scheduled Projects or Capital Renovations: None- a project to replace Hollinger Fieldhouse with a larger convention-convocation center was initially discussed but never pursued.

Description of Construction: Reinforced concrete foundation, built-up roof, combination masonry stone and block exterior walls, concrete slab floors.

| Condition and Use Assessment: |
| --- |
| Deferred Maintenance (2007): $ 1,925,000 | Est Replacement Cost (2007): $ 12,852,000 |
| Facility Condition Index: 0.15 | Deficiency/SF: $ 33.74 |
| Yearly Electric Use Cost: $ | Yearly Water Use Cost $ |